Motor Controller Unit – Front connectors

Each controller has three connectors: D1, D2, and D3, positioned horizontally from right to left. All 9 pin DSUB female.

MCU connector
IMS483I connector P1

D1

1 – Jog 1 Y

may connect to another controller in case of X-Y joystick

2 – Jog 2 Y

may connect to another controller in case of X-Y joystick

3 – Jog 1 X 

33

4 – Jog Speed

13

5 – Jog 2 X

11

6 - +5V


25

7,8 – not used

9 – GND

27

D2

1 – Lim B

10

2 - ~B


5 (P2)

3 – GND

27

4 – B


6 (P2)

5 – Lim A

4

6 – A


8 (P2)

7 – Home

12

8 - ~A


7 (P2)

9 - +5V


(25)

D3


Jumper configuration 1


Jumper configuration 2

1
Home

12

or

In2

30

2
Lim B

10

or

Out1

9

3
power ground (3 in P2)

4
Lim A

4

or

In3

7

5






In1

20

6






Out3

28

7
GND

27

8
+5V

25

9






Out2

5

Computer (9 pin DSUB male for RS422)
1
RD(B)/TX+
18

2
TD(B)/RX+
19

3
GROUND
27

4
TD(A)/RX-
2

5
RD(A)/TX-
1

Power (8 pin DIN round with lock)

3,5,7


+12V

1,4,6


GND

2,8,barrel

AC GND

MCU Front Panel

[image: image1.jpg]oC e oC Jo oC o |

FILTER WHEEL 1 |

FOCUS LIMITS  FOCUS DRVE  F.SWITCHSTICK

o e oC e o Do F

oo oo o e -

STAGE (Y)

e ee 0 e

STAGE (X) S.SWITCHSTICK

oo @

12 voc





[image: image2.jpg]s il






Jumper configurations


�





D1





D2





D3





Jumper configuration 1





Jumper configuration 2





�











